## Slide 1: ASTROPARTICLE PHYSICS LECTURE 2
Susan Cartwright
University of Sheffield

## Slide 2: High Energy Astroparticle Physics
Acceleration Mechanisms
Sources
Detection

## Slide 3: Detection of High Energy Astroparticles
Basic principles
  Cosmic rays and high-energy γs shower in the atmosphere
    detect light emitted or induced by the shower
      Cherenkov radiation
      fluorescence
    detect shower particles that reach the ground
      much more likely for hadron-induced showers
  Neutrinos in general don’t shower
    detect products of charged-current interactions (e, μ, τ)
  Ultra-high-energy neutrinos will shower in matter
    acoustic detection of shower energy

## Slide 4: Detection of Air Showers
Cherenkov radiation
  emitted by charged particles in the shower travelling at speeds > c/n where n is refractive index
    forward peaked
    faint, so requires dark skies
    relatively low energy threshold
    works for both hadron and photon cascades—basis of ground-based γ-ray astronomy
Nitrogen fluorescence
  UV radiation emitted by excited nitrogen molecules
    isotropic
    requires dark skies
Detection of shower particles on ground
  usually using water Cherenkov detectors
    higher threshold
    not dependent on sky conditions
    works better for hadron-induced showers

## Slide 5: Cherenkov Radiation
Radiation emitted by charged particle travelling faster than speed of light in a medium
  wavefronts constructively interfere to produce cone of radiation
    angle of cone given by cos θ = 1/βn
    for astroparticle applications usually β ≈ 1
    hence in air θ ≈ 1.3° (depends on temperature); in water θ ≈ 41° (40° for ice)

## Slide 6: Cherenkov Radiation
Spectrum of radiation is given by Frank-Tamm formula
  μ is permeability of medium, n its refractive index, q charge of particle, β its speed, ω emitted angular frequency, x length traversed
    note that dE ∝ ω; spectrum is continuous, but in general radiation is most intense at high frequencies
Threshold given by β > 1/n
  below this no Cherenkov radiation emitted
    basis of “threshold Cerenkov counters” used for particle ID in particle physics experiments

## Slide 7: Fluorescence
Misnamed!
  it’s really scintillation
Emitted isotropically
  in contrast to Cherenkov
Almost independent of primary particle species
  exciting particles are mainly e± which are produced by both electromagnetic and hadronic cascades
  light produced ∝ energy deposited in atmosphere
Emitted light is in discrete lines in near UV
  detection requires clear skies and nearly moonless nights
M. Ave et al., [AIRFLY Collab.], Astropart. Phys. 28 (2007) 41.
Fluorescence spectrum excited by 3 MeV electrons in dry air

## Slide 8: Schematic of Air-Shower Development
Gamma-induced showers have different particle content and will peak at a different height from hadron-induced showers. They also have a different morphology—note the subshowers in the hadron-induced cascade.

## Slide 9: Air Shower Animation
http://astro.uchicago.edu/cosmus/projects/aires
Ave, Surendran, Yamamoto, Landsberg, SubbaRao (animation); Sciutto (AIRES simulation)

## Slide 10: TeV Gamma-Ray Astronomy: Imaging Atmospheric Cherenkov Telescopes
Principles (from H.E.S.S. website)

## Slide 11: TeV Gamma-Ray Astronomy: Imaging Atmospheric Cherenkov Telescopes
Particle identification
  shower shape
    broader and less regular for hadron-induced showers
    narrow cone of direct emission from heavy nucleus
Energy reconstruction
  total Cherenkov light yield ∝ energy of primary
    resolution typically 15-20%
    threshold given by where C is Cherenkov yield, B sky background, η photon collection efficiency, A mirror area, Ω solid angle, τ integration time
Heavy nucleus signal in HESS
direct Cherenkov emission from primary

## Slide 12: TeV Gamma-ray Observatories
MILAGRO
STACEE
PACT
Tibet AS-Gamma
Yakutsk
Main sites: VERITAS, HESS, CANGAROO III (stereo systems); MAGIC (single dish)
two since 2009

## Slide 13: IACT Technology: H.E.S.S. (Namibia)
4 telescopes each of 108 m2 aperture
Camera array of 2048 pixels (0.07°)
New 28-m telescope operational since 2012 (should reduce energy threshold to 30 GeV)

## Slide 14: IACT Technology: VERITAS (USA)
Very similar to H.E.S.S. I
4 telescopes each 110 m2
499-pixel camera

## Slide 15: IACT Technology: MAGIC (Canary Islands)
Larger telescopes (236 m2), hence lower threshold; also fast slew to respond to GRB alerts
The two telescopes can operate independently
Camera has inner core of 396 1” PMTs, outer ring of 180 1.5"

## Slide 16: Some Results
Some blazar sources seen to vary on very short timescales (few minutes)
  plots show PKS 2155−304 observed by HESS and Chandra (Aharonian et al., A&A 502 (2009) 749)
  flare is much larger at TeV energies but TeV & x-rays correlated
  explaining these fast flares is a major challenge for models

## Slide 17: Some Results
Multiwavelength study of Mkn 501 (Abdo et al, ApJ 727 (2011) 129)
  Note TeV flare see by VERITAS
Modelled by one-zone SSC
  Fit parameters: jet Doppler factor δ, emitting region radius R, magnetic field B, ratio of electron and magnetic field comoving energy densities η, plus electron spectral distribution (modelled as broken power law in γe with exponential cut-off at high energies)
  find δ = 12, R = 1.3×1012 km (9 AU), B = 0.015 G, η = 56, ⟨γe⟩ = 2400
    ultrarelativistic electrons in near-equipartition with mildly relativistic protons?
    consistent with shock acceleration

## Slide 18: Some Results
HESS J1303−631
+ HESS contours
HESS J1731−347
Recent images of TeV sources associated with pulsars and SNRs
VERITAS
VERITAS SNR IC443
optical
CO
Fermi 95%
MAGIC (white +)

## Slide 19: HESS as a detector of cosmic-ray electrons
Separation of electron and proton showers using multivariate analysis
Separation of electron and photon showers using Xmax (depth of shower maximum): electrons shower earlier than photons

## Slide 20
Future facility for TeV gamma-ray astronomy
  three different telescope designs optimised for different energies
  in design phase

## Slide 21: Cosmic Ray Detectors
Focus in recent years on UHE CRs
  rare, so require very large area detectors
    fluorescence detectors “see” large effective area, but have limited duty cycle
    ground-based shower sampling has good duty cycle, but requires genuinely large area coverage to have large effective area
Nagano, New J. Phys. 11 (2009) 065012
Chart: 
| 1955 | 1957 | 1959 | 1963 | 1967 | 1987 | 1967 | 1980 | 1967 | 1975 | 1970 | 2011 | 1984 | 2005 | 1964 | 1967 | 1968 | 1973 | 1981 | 1993 | 1998 | 2003 | 2004 | 2011 | 2008 | 2011
MIT Agassiz | 1 | 1
Volcano Ranch | 2 | 2
Haverah Park | 3 | 3
SUGAR | 4 | 4
INS-LAS | 5 | 5
Yakutsk | 6 | 6
AGASA | 7 | 7
Cornell | 8 | 8
Tokyo | 9 | 9
Fly's Eye | 10 | 10
HiRes | 10 | 10
Auger | 11 | 11
Haverah Park
Fly’s Eye
Auger
Hybrid
Fluorescence
Ground array
(after Nagano 2009)

## Slide 22: Ground Array Technology
Large area ground arrays consist of multiple small stations whose data are combined to reconstruct the shower
  detector technology scintillator (SUGAR, AGASA) or water Cherenkov (Haverah Park, Auger)
    some detectors (AGASA, Yakutsk) also include underground muon detectors
  individual detectors need to be robust and self-contained
Energy reconstruction by
  conversion from shower size
    estimated number of electrons, Ne, combined with muons, Nμ, for those experiments with muon detectors
  particle density at a given (large) distance from core
    smaller fluctuations, and less sensitive to primary particle type, than shower core

## Slide 23: Example of Ground Array
Pierre Auger Observatory, Argentina
  1600 water Cherenkov tanks
  solar powered with GPS
typical event display

## Slide 24: Energy Reconstruction in Ground Arrays
Auger fits S(1000), shower density 1 km from core, and corrects for inclination to get S(38°)
  calibrated by comparison with fluorescence
AGASA used S(600), verified by comparison with Ne and Nμ
Significant systematic errors (~20% quoted)

## Slide 25: Direction Reconstruction in Ground Arrays
Direction is reconstructed from arrival time of shower at different ground stations
  better than 1° if >4 stations fire (E > 8 EeV)

## Slide 26: Fluorescence Detector Technology
Broadly similar to Cherenkov telescope
  Expect to see “stripe” of light corresponding to shower

## Slide 27: Fluorescence Detector Technology
Auger fluorescence detector layout
Auger Coll., Nucl.Instrum.Meth. A620 (2010) 227

## Slide 28: Background Rejection
Genuine event with colours showing time progression Fake event probably caused by cosmic ray muon interacting directly in detector

## Slide 29: Energy Reconstruction in Fluorescence Detector
Calorimetric detector: total light intensity measures electromagnetic energy in shower
  response calibrated using artificial light source and direct excitation of fluorescence with nitrogen laser
Auger Coll.

## Slide 30: Energy Reconstruction in Fluorescence Detector
Measure longitudinal shower profile
  Fit to standard profile (Gaisser- Hillas function)
  Correct for non-electromagnetic energy
    resulting statistical error is about 10%
    good agreement with ground array

## Slide 31: Hybrid Detector Reconstruction
Combining detectors improves performance
Angular resolution in hybrid mode 0.6°

## Slide 32: Hybrid Event Schematic

## Slide 33: Properties of Primary Cosmic Rays: Particle Content
Particle identification by mean and variance of shower depth Xmax
  At low energies similar to solar system, but enhanced in low Z spallation products
  at higher energy nearly pure protons
HiRes: Abbasi et al., ApJ 622 (2005) 910
NASA

## Slide 34: Properties of Primary Cosmic Rays: Particle Content
Auger
HiRes
Some disagreement at highest energies!

## Slide 35: Energy Spectrum of UHECRs
Expect GZK cut-off at high energy owing to pion photoproduction via Δ resonance
  γ + p → Δ+ → p + π0 (or n + π+)
  requires Eγ = 145 MeV (150 MeV) for proton at rest
    energy of CMB photon ~3 kB T = 7×10−4 eV on average
    so require proton γ ~2×1011, i.e. Ep ~ 2×1020 eV
    this is an overestimate, because protons will see high-energy tail of CMB blackbody—true cutoff is about 5×1019 eV
Result: protons with energies > 1020 eV lose energy as they travel
  effective range of >GZK protons ~100 Mpc essentially independent of initial energy
distance (Mpc)
Ep (eV)

## Slide 36: Observation of GZK Cutoff
Seen by both Auger and HiRes
  apparent difference is consistent with systematic error in energy scale
This implies that sources of UHECRs are genuinely astrophysical objects
  local sources, e.g. decay of some kind of superheavy metastable dark matter, would not show cutoff

## Slide 37: Combined CR Energy Spectrum
Energy scales adjusted based on pair-production dip just below 1019 eV. Taken from Nagano (2009)

## Slide 38: Cosmic Ray Anisotropy: Dipole
MILAGRO
IceCube
Consistently observed by many experiments.
Probably caused by Sun’s orbital motion

## Slide 39: Cosmic Ray Anisotropy
MILAGRO
Small-scale anisotropy
Local source?
Magnetic field effect?
Heliotail?

## Slide 40: Detection of UHE Gammas and CRs: Summary
UHE astroparticles are easier to detect from the ground than from space
  large detectors covering large effective areas are not easy to put into orbit
Cherenkov, fluorescence and ground-array technologies all well established
  each technique has advantages and disadvantages
  “hybrid” detectors using multiple techniques are effective
Multiwavelength studies of interesting objects provide increasingly good constraints on models
  relevant for TeV γ-rays, not for CRs because of lack of directionality